## House Details
Step 1: | Find Your Local Climate Conditions
| Heating Degree Days: |  | Choose the city closest to you from the list on the right and enter the HDD (65) number into the box below | [8 empty] | Excerpt of ASHRAE 90.1 2010 Table D-1
| HDD (65) | 6948 | [9 empty] | City | State | HDD (65) | CDD (50)
| Interior Temp. | 65 | (don't change this unless you are also changing the base temperature of your HDD) | [8 empty] | Anchorage | AK | 10570 | 688
| Design Temperture: |  | Find your area on the map below and choose the appropriate design temperature in the box below | [8 empty] | Fairbanks | AK | 13940 | 1040
| Design Temp. | 0 | [9 empty] | San Francisco | CA | 3016 | 2883
[12 empty] | Boulder | CO | 5554 | 2820
[12 empty] | Hartford | CT | 6155 | 2768
[12 empty] | Dover | DE | 4337 | 3894
[12 empty] | Honolulu | HI | 0 | 9949
[12 empty] | Boise | ID | 5861 | 2807
[12 empty] | Chicago | IL | 6536 | 2941
[12 empty] | Columbus | IN | 5536 | 3353
[12 empty] | Bangor | ME | 7930 | 1916
[12 empty] | Portland | ME | 7378 | 1943
[12 empty] | Baltimore | MD | 4707 | 3709
[12 empty] | Boston | MA | 5641 | 2897
[12 empty] | Springfield | MA | 5754 | 3037
[12 empty] | Detroit | MI | 6167 | 3046
[12 empty] | Minneapolis-St Paul | MN | 7981 | 2680
[12 empty] | Berlin | NH | 8645 | 1718
[12 empty] | Concord | NH | 7554 | 2087
[12 empty] | Keene | NH | 6948 | 2398
| Ground Temperature: |  | Use map below to find the mean water temperature for your area, enter the number below | [8 empty] | Portsmouth | NH | 6572 | 2418
| Ave. Winter Temp. | 47 | (this is a proxy for the ground temperature) | [8 empty] | Atlantic City | NJ | 5169 | 3198
| Hours/year | 4320 | [9 empty] | Albany | NY | 6894 | 2525
[12 empty] | Buffalo | NY | 6747 | 2468
[12 empty] | NY City (central park) | NY | 4805 | 3634
[12 empty] | Rochester | NY | 6734 | 2406
[12 empty] | Schenectady | NY | 6881 | 2500
[12 empty] | Cleveland | OH | 6201 | 2755
[12 empty] | Philidelphia | PA | 4954 | 3623
[12 empty] | Pittsburg | PA | 5968 | 2836
[12 empty] | Lancaster | PA | 5584 | 3079
[12 empty] | Providence | RI | 5884 | 2743
[12 empty] | Burlington | VT | 7771 | 2228
[12 empty] | Rutland | VT | 7066 | 2345
Step 2: | Define the shape of your house
| Floor Area: | Note: this includes all floor area within the thermal barrier or all the Heated/Cooled space
Include basement only if there is no insulation in the floor between the basement and first floor
Include attic only if there is no insulation in or on top of the ceiling between the top floor and attic
If including Attic then ceiling height is average height of room
[5 empty] | Area |  | Ceiling Height |  | Above Grade stories
|  |  | Basement | Bfla | 1344 | sqft | 0 | ft | 0
|  |  | 1st Floor | 1fla | 1344 | sqft | 9 | ft | 1
|  |  | 2nd Floor | 2fla | 1344 | sqft | 8 | ft | 1
|  |  | 3rd Floor | 3fla | 0 | sqft | 0 | ft | 0
|  |  | Attic | Afla | 1344 | sqft | 5.25 | ft | 1
|  |  | Total Floor Area | FLa | 5376 | sqft |  |  | 3 | stories
|  |  | Interior Living Space |  | 4032 | sqft
|  |  | # of Occupants or # of Bedrooms +1 | 4 | people
| Surface Area: | Note: this is includes all insulated exterior surfaces or surfaces connected to Heated and Cooled areas.
Include basement walls only if there is no insulation in the floor between the basement and first floor
Include roof surfaces only if there is no insulation in or on top of the ceiling between the top floor and attic, if the ceiling is insulated then roof surface is the ceiling area
Use either option 1) or 2) not both for Basement
|  |  | Basement: |  |  |  | Surface Area
|  | 1) | Insulated 1st floor |  | 0 | sqft
|  | 2) | slab |  | 1344 | sqft | 1344 | sqft
|  | 2) | Perimeter of basement |  | 152 | ft
|  |  | Average height of Above grade wall |  | 1 | ft | 152 | sqft
|  |  | Average depth of Basement from grade |  | 8 | ft | 1216 | sqft
|  |  | Shortest width of slab |  | 16 | ft | Wb
Walls:
|  |  | elevation 1 |  | 816 | sqft
|  |  | elevation 2 |  | 816 | sqft
|  |  | elevation 3 |  | 623 | sqft
|  |  | elevation 4 |  | 623 | sqft
|  |  | Total wall surface area | Wsa | 2878 | sqft
|  |  | Windows: | Qty | Window Area | Total Area |  | Window R-value | Window U-Value | Window UA | Window R-values from Marvin's best option
|  |  | Type A | 35 | 15 | 525 |  | 3 | 0.33333 | 175 | http://www.integritywindows.com/Spec-Finder-Pro-Double-Hung-Wood-Ultrex/
|  |  | Type B | 17 | 9 | 153 |  | 3 | 0.33333 | 51
|  |  | Type C | 0 | 0 | 0 |  | 3 | 0.33333 | 0
|  |  | Type D | 0 | 0 | 0 |  | 3 | 0.33333 | 0
Type E
Type F
Type G
Type H
Type I
|  |  | Total Window Area | 52 |  | 678 |  | Total UA | WIua | 226
|  |  | RO as % of wall | 31.48%
|  |  | SIP Framing Factor | 17.8%
|  |  | LCF Framing Factor | 36.41%
|  |  | Doors | Qty | Area | Total Area |  | Door R-value | Door U-value | Door UA
|  |  | Type 1 | 2 | 22 | 44 |  | 2 | 0.5 | 22
|  |  | Type 2 | 4 | 46 | 184 |  | 3 | 0.33333 | 61.3333
|  |  | Type 3 |  |  | 0
|  |  | Total Door Area | 6 |  | 228 |  | Total UA | Dua | 83.3333
Clear Wall
|  |  | wall area - window and doors |  | 1972 | sqft
Roof Surface Area
Note: find vertical Area from elevations
|  |  | Pitch x/12 | 10 |  | Adjusted Area
|  |  | Area Side 1 | 492 | sqft | 768.5286
|  |  | Area Side 2 | 492 | sqft | 768.5286
|  |  | Area Side 3 | 0 | sqft | 0
|  |  | Area Side 4 | 0 | sqft | 0
|  |  | Total Roof Surface Area |  |  | 1888 | sqft

## Takeoff
Total LFC Install | Total SIP Install | Installation | Equipment Cost | Total of Materials LFC | LFC Material Cost | Total of Materials SIP | SIP Material Cost | Materials in wall and roof does not include any thing presumed to be the same in the house | Unit | Quantity | Counted Object | Counts
920.96 |  | 0.32 |  | 1439 | 0.5 |  |  | OSB 7/16" | sqft | 2878 | surface area of walls | 2878
| 3280.92 | 0.76 | 0.38 |  |  | 9871.54 | 3.43 | 6.5" SIP Wall | sqft | 2878
[6 empty] | 2380.32 | 0.58 | SIP Wall Framing | lnft | 4104 | SIP Wall Framing factor | 0.178
5871.6 |  | 0.7 |  | 4865.04 | 0.58 |  |  | Stud walls (2x6) | lnft | 8388 | Conventional Wall Framing % | 0.36415
1886.2892 |  | 1.43 |  | 910.1675 | 0.69 |  |  | Loose fill cellulose walls | cuft | 1319.0833 | Insulation Thickness in inches | 5.5
1467.78 | 1467.78 | 0.51 |  | 1266.32 | 0.44 | 1266.32 | 0.44 | Drywall 1/2" walls | sqft | 2878
604.16 |  | 0.32 |  | 944 | 0.5 |  |  | OSB 7/16" roof | sqft | 1888 | surface area of roof | 1888
| 3322.88 | 1.17 | 0.59 |  |  | 7703.04 | 4.08 | 10.25" SIP Roof | sqft | 1888
[6 empty] | 264.48 | 0.58 | SIP Roof Framing | lnft | 456 | SIP Roof Framing factor (no Windows) | 0.03
1859.76 |  | 0.82 |  | 2608.2 | 1.15 |  |  | 2x10 Roof framing | lnft | 2268 | Conventional Roof Framing factor (no skylights) | 0.15
2081.1267 |  | 1.43 |  | 1004.18 | 0.69 |  |  | loose fill cellulose Roof | cuft | 1455.3333 | thickness of insulation | 9.25
962.88 | 962.88 | 0.51 |  | 830.72 | 0.44 | 830.72 | 0.44 | Drywall 1/2" roof | sqft | 1888
929.88 |  | 0.82 |  | 1304.1 | 1.15 |  |  | Collar ties (2"x10") | lnft | 1134 | Conventional Roof Frame/2
| 197.4 | 4.37 | 2.21 |  |  | 423 | 14.1 | Support beams for SIP (8"x12") | lnft | 30 | length of ridge | 30
| 69.42 | 1.04 |  |  |  | 170.2125 | 2.55 | Support posts for SIP (4"x6") | lnft | 66.75 | Number of posts | 3
16584.4358 | 9301.28 |  |  | 13867.6275 |  | 22316.42
|  | 0.65 |  |  |  |  | 0.4 | 2x4 Framing
|  | 0.7 |  |  |  |  | 0.58 | 2x6 framing
|  | 0.76 |  |  |  |  | 0.87 | 2x8 Framing
|  | 0.82 |  |  |  |  | 1.15 | 2x10 Framing
|  | 0.99 |  |  |  |  | 1.55 | 2x12 Framing
|  | 0.63 | 0.32 |  |  |  | 3.06 | 4.5" SIP
|  | 0.76 | 0.38 |  |  |  | 3.43 | 6.5" SIP
|  | 0.92 | 0.47 |  |  |  | 3.73 | 8.25"SIP
|  | 1.17 | 0.59 |  |  |  | 4.08 | 10.25" SIP
|  | 1.45 | 0.75 |  |  |  | 4.41 | 12.25" SIP
|  |  | SIP | 31617.7
|  |  | LFC | 30452.0633 | 1) | These numbers are National Average costs from Rsmeans, Profit for the builders is not included
|  |  | Difference | 1165.6367 | 2) | These do not include anything assumed to be equal between the two
|  |  | % of Average | 3.756% |  | Foor decks, headers, windows, foundations, interior framing, plumbing, electrical, various finishes, ect….
[5 empty] | 3) | This is in no way an accurate representation of the price of a house, it is mearly a estimator of the difference between two building types.
[5 empty] | 4) | National averages may or may not represent the local industry prices (all these are much lower than prices I used in practicum)

## Conduction
Basement Heat Loss
Option 1) | Floor over Unheated Basement
Floor R-value
Layer | R-value clear floor | R-value framing | Stud Thickness Inches | 9.25
Inside air film | 0.68 | 0.68 | R/In. wood | 1.25
Finished floor (hardwood) | 0.75 | 0.75 | R/In.Insulation | 3.5
Advantec Floor Underlayment | 0.8 | 0.8 | Framing factor | 0.2
Insulation or framing | 32.375 | 11.5625
OSB Sheathing | 0.8 | 0.8
Inside air film | 0.68 | 0.68
R-value | 36.085 | 15.2725
| Total Floor R-value | 31.9225 | Total Floor U-value | 0.031326
Q (btu/hr) | 0 | btu/hr
Q (btu) | 0 | btu
Option 2) | Slab on Grade
Q=F*P*(Tin-TD)*hrs | F is based on experimental data |  | Uninsulated |  | 0.73 | Fully Insulated Slab (R-10) |  | 0.36
| P is Perimeter of Slab |  | 2ft Horezontal Insulation (R-5) |  | 0.7 | 2ft Vertical Insulation (R-5) |  | 0.58
|  |  | 2ft Horezontal Insulation (R-10) |  | 0.7 | 2ft Vertical Insulation (R-10) |  | 0.54
|  |  | 2ft Horezontal Insulation (R-15) |  | 0.69 | 2ft Vertical Insulation (R-15) |  | 0.52
| Choose from list to right |  | 4ft Horezontal Insulation (R-5) |  | 0.67 | 4ft Vertical Insulation (R-5) |  | 0.54
F | 0.36 |  | 4ft Horezontal Insulation (R-10) |  | 0.64 | 4ft Vertical Insulation (R-10) |  | 0.48
Q (btu) | 15365376 | btu | 4ft Horezontal Insulation (R-15) |  | 0.63 | 4ft Vertical Insulation (R-15) |  | 0.45
Option 3) | Basement or Crawlspace
Concrete Wall | [5 empty] | Concrete Slab
Layer | R-value wall | Wall Thickness Inches | 8 |  |  | Layer | R-value floor | slab Thickness Inches | 4
Inside air film | 0.68 | Conctrete/in. | 0.33 |  |  | Inside air film | 0.68 | Conctrete R per inch | 0.33
Interior Insulation | 13.3 | inches of Inside Insulation | 3.5 |  |  | Interior Insulation | 0 | Thickness of Inside Insulation | 0
Concrete | 2.64 | R/in. Insulation | 3.8 |  |  | Concrete | 1.32 | R/in. Insulation | 3.85
Exterior Insulation | 0 | Inches of Outside Insulation | 0 |  |  | Exterior Insulation | 7.7 | Thickness of Outside Insulation | 2
Outside air film | 0.17 | R/in. Insulation | 3.8 |  |  | Outside air film | 0.17 | R/in. Insulation | 3.85
R-value | 16.79 |  |  |  |  | R-value | 9.87
Total Wall U-value | 0.059559 |  |  |  |  | Total Wall U-value | 0.10132
Ksoil | 0.8
Q (above grade wall) | 588.4455 | btu/hr
Area/ft below grade | 152 | sqft
Z1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Z2 (depth bottom of Wall - ft) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Uave,bw | 0.056326 | 0.050713 | 0.046117 | 0.042286 | 0.039042 | 0.036261 | 0.03385 | 0.03174 | 0.029877
Q (wall below ground) btu/hr | 154.1091 | 138.7498 | 126.1764 | 115.6937 | 106.82 | 99.211 | 92.6144 | 86.8405 | 81.7446
Uave,bf | 0.055814
Q (basement slab) btu/hr | 1350.249 | btu/hr
Q (basement) | 2031.3089 | btu/hr
Typical Light Frame Construction
Walls | [5 empty] | Roof
Layer | R-value clear wall | R-value framing | 5.5 | Stud Thickness Inches | 9.25 | Layer | R-value clear wall | R-value framing
Inside air film | 0.68 | 0.68 | 1.25 | R/inch wood | 1.25 | Inside air film | 0.68 | 0.68
Drywall | 0.45 | 0.45 | 3.5 | R/in. Insulation | 3.5 | Drywall | 0.45 | 0.45
|  |  | 0.36415 | Framing Factor | 0.15
Insulation or framing | 19.25 | 6.875 |  |  |  | Insulation or framing | 32.375 | 11.5625
OSB Sheathing | 0.8 | 0.8 |  |  |  | OSB Sheathing | 0.8 | 0.8
Air Space | 0 | 0 |  |  |  | Air Space | 0 | 0
Siding | 0.5 | 0.5 |  |  |  | Siding | 0.5 | 0.5
Outside air film | 0.17 | 0.17 |  |  |  | Outside air film | 0.17 | 0.17
R-value | 21.85 | 9.475 |  |  |  | R-value | 34.975 | 14.1625
| Total Wall R-value | 17.3436 |  |  |  |  | Total Roof R-value | 31.8531
| Number | Single unit area | A | U | R | UA | HDD | Qbtu/yr | Design btu/hr | %
Clear Wall | 0.63585 | 1972 | 1253.8971 | 0.045767 | 21.85 | 57.3866 | 6948 | 9569329.4132 | 3730.1286 | 10.35%
Area/ft below grade Z1: Windows; sqft 5: 226; sqft 6: 6948; sqft 7: 37685952; sqft 8: 14690 | 40.76%
Area/ft below grade Z1: Doors; sqft 5: 83.3333; sqft 6: 6948; sqft 7: 13896000; sqft 8: 5416.6667 | 15.03%
Framing | 0.36415 | 1972 | 718.1029 | 0.10554 | 9.475 | 75.7892 | 6948 | 12638004.8889 | 4926.2996 | 13.67%
Ceiling/Roof |  |  | 1888 | 0.031394 | 31.8531 | 59.272 | 6948 | 9883732.7892 | 3852.6832 | 10.69%
Area/ft below grade Z1: Basement/slab/floor; sqft 7: 8775254.2782; sqft 8: 2031.3089 | 9.492%
Area/ft below grade Z1: Total; sqft 7: 92448273.3694; sqft 8: 34647.087 | 100%
SIP House
Walls | [5 empty] | Roof
Layer | R-value clear wall | R-value framing | 5.5 | Stud Thickness Inches | 9.25 | Layer | R-value clear wall | R-value framing
Inside air film | 0.68 | 0.68 | 1.25 | R/inch wood | 1.25 | Inside air film | 0.68 | 0.68
Drywall | 0.45 | 0.45 | 3.85 | R/in. Insulation | 3.85 | Drywall | 0.45 | 0.45
OSB Sheathing | 0.8 | 0.8 | 0.178 | Framing Factor | 0.03 | OSB Sheathing | 0.8 | 0.8
Insulation or framing | 21.175 | 6.875 |  |  |  | Insulation or framing | 35.6125 | 11.5625
OSB Sheathing | 0.8 | 0.8 |  |  |  | OSB Sheathing | 0.8 | 0.8
Air Space | 0.68 | 0.68 |  |  |  | Air Space | 0.68 | 0.68
Siding | 0.5 | 0.5 |  |  |  | Siding | 0.5 | 0.5
Outside air film | 0.17 | 0.17 |  |  |  | Outside air film | 0.17 | 0.17
R-value | 25.255 | 10.955 |  |  |  | R-value | 39.6925 | 15.6425
| Total Wall R-value | 20.0477 |  |  |  |  | Total Wall R-value | 36.085
| Number | Single unit area | A | U | R | UA | HDD | Qbtu/yr | Design btu/hr | %
Clear Wall | 0.822 | 1972 | 1620.9902 | 0.039596 | 25.255 | 64.1849 | 6948 | 10702963.8603 | 4172.0198 | 12.57%
Area/ft below grade Z1: Windows; sqft 5: 226; sqft 6: 6948; sqft 7: 37685952; sqft 8: 14690 | 44.27%
Area/ft below grade Z1: Doors; sqft 5: 83.3333; sqft 6: 6948; sqft 7: 13896000; sqft 8: 5416.6667 | 16.32%
Framing | 0.178 | 1972 | 351.0098 | 0.091283 | 10.955 | 32.0411 | 6948 | 5342911.1555 | 2082.669 | 6.276%
Ceiling/Roof |  |  | 1888 | 0.027712 | 36.085 | 52.3209 | 6948 | 8724616.2117 | 3400.8591 | 10.25%
Area/ft below grade Z1: Basement/slab/floor; sqft 7: 8775254.2782; sqft 8: 2031.3089 | 10.31%
Area/ft below grade Z1: Total; sqft 7: 85127697.5057; sqft 8: 31793.5235 | 100%

## Air
| LCF | units | SIP |  | 1 Btu | 0.00029307 | kWh
floor area | 4032 | ft2 | 4032 |  | 1 kWh | 3412.1416 | Btu
Ceiling Height | 7.4167 | ft | 7.4167
Number of stories | 3 | stories | 3
Volume | 29904 | ft3 | 29904
Ssf | 4766 | ft2 | 4766
wsf | 0.5 |  | 0.5
Blower Door test CFM50 | 7300 | CFM50 | 1150
ELA - Effective Leakage Area
ELA | 2.8164 | ft2 | 0.44367
| 405.5556 | in2 | 63.8889
Average Air Infiltration Rate (CFM) Over a Normal Heating Season.
NL | 0.8854 |  | 0.13948
Qinf | 244.5147 | CFM50 | 38.5194 | Aveage Air leakage over Heating season
Normalized Leakage Measures to Compare to National Standards |  |  |  |  | Leaky | Typical New | Tight | Supertight | Required
ACH50 | 14.6469 | ACH50 | 2.3074 |  | 20 | 9 | 4 | 0.68 | 7
ELR | 8.5093 | CFMN/100Ssf | 1.3405 |  | 12 | 6 | 3 | 1
MLR | 1.5317 | CFM50/Ssf | 0.24129 |  | 1 | 0.5 | 0.1 | 0.05
Annual Air Leakage Heat Loss
Q | 44035179.9736 | Btu | 6937048.8999 | Total Heat loss though Air leakage over heating season
| 12905.4373 | Kwh | 2033.0483
| 17164.9317 | btu/hr | 2704.0646 | Design heat loss
| 5.0305 | Kw | 0.79248
Required ventilation for acceptable indoor air quality for this house according to ASHRAE standard 62.2-2013
Qtot | 150.96 | CFM50 | 150.96 | CFM50 | Required Ventilation
Qfan | 0 | CFM50 | 112.4406 | CFM50 | Required Fan
Ventilation System Options
Running a ventilation system costs energy, Energy comparison of Bath fan vs. HRV with 80% efficiency
variable | Bath Fan | HRV | Units | Number hours per day |  |  | variable | Bath Fan | HRV | Units | Number hours per day
e (heat transfer efficiency) | 0 | 0.8 |  | 24 |  |  | e (heat transfer efficiency) | 0 | 0.8 |  | 24
Qth | 0 | 0 | Btu |  |  |  | Qth | 0 | 0 | Btu
Fan power | 0 | 0 | W |  |  |  | Fan power | 18.7401 | 56.2203 | W
Qe | 0 | 0 | Wh |  |  |  | Qe | 80957.2042 | 242871.6126 | Wh
Qe | 0 | 0 | kWh |  |  |  | Qe | 80.9572 | 242.8716 | kWh
Qth | 0 | 0 | kWh |  |  |  | Qth | 0 | 0 | kWh
Qtotal | 0 | 0 | kWh |  |  |  | Qtotal | 80.9572 | 242.8716 | kWh

## Total losses
[11 empty] | 1 Btu | 0.00029307 | kWh
[11 empty] | 1 kWh | 3412.1416 | Btu
Results
|  |  |  | Typical LFC House |  |  | SIP House |  |  | Improvement
|  |  | Energy Loss | BTU | Kwh | % of Total | BTU | Kwh | % of Total | BTU | Kwh | % of Total Improvement | % of Stick Frame
|  |  | Air | 44035179.9736 | 12905.4373 | 32.26% | 6937048.8999 | 2033.0483 | 7.468% | 37098131.0736 | 10872.389 | 85.11% | 84.25%
|  |  | Conduction | 92448273.3694 | 27093.9144 | 67.74% | 85127697.5057 | 24948.4654 | 91.64% | 7320575.8637 | 2145.449 | 16.79% | 7.919%
|  |  | Required HRV | 0 | 0 | 0% | 828712.3402 | 242.8716 | 0.8921% | -828712.3402 | -242.8716 | -1.901% | -
|  |  | Total Energy loss | 136483453.343 | 39999.3517 | 100% | 92893458.7458 | 27224.3854 | 100% | 43589994.5972 | 12774.9664 | 100% | 31.94%
|  |  |  | Typical LCF |  |  | SIP House |  |  | Improvement
| Efficiency |  |  | # of units | cost/unit* | Heating cost/ year | # of units | cost/unit | Heating cost/year | # of units | cost/unit | Total Savings/year | Air savings | conduction savings
oil #2 | 80% | 138000 | btu/gallons | 791.2084 | 2.92 | 2310.3286 | 538.5128 | 2.92 | 1572.4574 | 252.6956 | 2.92 | 737.8712 | 613.9519 | 123.9193
Nat. Gas | 95% | 100000 | btu/therms | 1296.5928 | 1.215 | 1575.3603 | 882.4879 | 1.215 | 1072.2227 | 414.1049 | 1.215 | 503.1375 | 418.6398 | 84.4977
Propane | 95% | 91000 | btu/gallons | 1424.8273 | 1.002 | 1427.6769 | 969.7669 | 1.002 | 971.7064 | 455.0604 | 1.002 | 455.9705 | 379.3941 | 76.5764
Electricity | 100% | 3412 | btu/Kwh | 40001.0121 | 0.1212 | 4848.1227 | 27225.5155 | 0.1212 | 3299.7325 | 12775.4967 | 0.1212 | 1548.3902 | 1288.351 | 260.0392
Electricity | 300% | 3412 | btu/Kwh | 13333.6707 | 0.1212 | 1616.0409 | 825.0156 | 0.1212 | 99.9919 | 4258.4989 | 0.1212 | 516.1301 | 429.4503 | 86.6797
|  |  | Typical LFC |  |  |  | SIP House |  |  | Improvement
|  |  |  | Efficiency | Total Cost/Sqft Living Area |  |  | Total Cost/Sqft Living Area |  | Difference in building cost | Payback in Years for SIP vs. Typical | Total Savings/Sqft Living Area | Difference in building cost in $/sqft living
|  |  | oil #2 | 80% | 0.573 |  |  | 0.38999 |  | 1165.6367 | 1.5797 | 0.183 | 0.2891
|  |  | Nat. Gas | 95% | 0.39071 |  |  | 0.26593 |  | 1165.6367 | 2.3167 | 0.12479 | 0.2891
|  |  | Propane | 95% | 0.35409 |  |  | 0.241 |  | 1165.6367 | 2.5564 | 0.11309 | 0.2891
|  |  | Electricity | 100% | 1.2024 |  |  | 0.81839 |  | 1165.6367 | 0.75281 | 0.38403 | 0.2891
|  |  | Electricity | 300% | 0.4008 |  |  | 0.0248 |  | 1165.6367 | 2.2584 | 0.12801 | 0.2891
|  |  | AVERAGE |  | 0.5842 |  |  | 0.34802 |  | 1165.6367 | 1.8928 | 0.18658 | 0.2891
* Energy prices are average yearly prices for 2013 from US Energy Information Association
[15 empty] | AVERAGES | CFM50 LCF vs. SIP | ACH50 LCF vs.SIP | Window % of wall | Difference in building cost | Payback in Years for SIP vs. Typical | Total Savings/Sqft Living Area | Difference in building cost in $/sqft living | AVERAGES | ACH50 LFC vs.SIP | Window % of wall | Payback in Years for SIP vs. Typical
[15 empty] | Small Cape | 1840vs140 | 9.0 vs. 0.68 | 15.8% | 1826.89 | 8.5 | 0.18 | 1.27 | Small Cape | 9vs0.68 | 15.8% | 8.5
[15 empty] | 24x30 full basement | 820vs140 | 4.0 vs. 0.68 | 15.8% | 1826.89 | 14.4 | 0.11 | 1.27 | 24x30 full basement | 9vs0.68 | 25.6% | 7.3
[16 empty] | 3000vs475 | 14.6 vs. 2.3 | 15.8% | 1826.89 | 6.3 | 0.25 | 1.27 |  | 9vs0.68 | 31.5% | 6.5
[16 empty] | 1840vs140 | 9.0 vs. 0.68 | 25.6% | 1522.81 | 7.3 | 0.18 | 1.06 |  | 4vs0.68 | 15.8% | 14.4
[16 empty] | 820vs140 | 4.0 vs. 0.68 | 25.6% | 1522.81 | 12.6 | 0.1 | 1.06 |  | 4vs0.68 | 25.6% | 12.6
[16 empty] | 3000vs475 | 14.6 vs. 2.3 | 25.6% | 1522.81 | 5.4 | 0.24 | 1.06 |  | 4vs0.68 | 31.5% | 11.4
[16 empty] | 1840vs140 | 9.0 vs. 0.68 | 31.5% | 1340.65 | 6.5 | 0.17 | 0.93 |  | 14.6vs2.3 | 15.8% | 6.3
[16 empty] | 820vs140 | 4.0 vs. 0.68 | 31.5% | 1340.65 | 11.4 | 0.1 | 0.93 |  | 14.6vs2.3 | 25.6% | 5.4
[16 empty] | 3000vs475 | 14.6 vs. 2.3 | 31.5% | 1340.65 | 4.8 | 0.24 | 0.93 |  | 14.6vs2.3 | 31.5% | 4.8
[15 empty] | Mid Sized Colonial | 4500vs340 | 9.0 vs. 0.68 | 15.8% | 2202.44 | 4.8 | 0.14 | 0.55 | Mid Sized Colonial | 9vs0.68 | 15.8% | 4.8
[15 empty] | 28x48 full basement | 2000vs340 | 4.0 vs. 0.68 | 15.8% | 2202.44 | 8.5 | 0.08 | 0.55 | 28x48 full basement | 9vs0.68 | 25.6% | 3.4
[16 empty] | 7300vs1150 | 14.6 vs. 2.3 | 15.8% | 2202.44 | 3.5 | 0.19 | 0.55 |  | 9vs0.68 | 31.5% | 2.6
[16 empty] | 4500vs340 | 9.0 vs. 0.68 | 25.6% | 1546.76 | 3.4 | 0.14 | 0.38 |  | 4vs0.68 | 15.8% | 8.5
[16 empty] | 2000vs340 | 4.0 vs. 0.68 | 25.6% | 1546.76 | 6.3 | 0.07 | 0.38 |  | 4vs0.68 | 25.6% | 6.3
[16 empty] | 7300vs1150 | 14.6 vs. 2.3 | 25.6% | 1546.76 | 2.5 | 0.19 | 0.38 |  | 4vs0.68 | 31.5% | 4.9
[16 empty] | 4500vs340 | 9.0 vs. 0.68 | 31.5% | 1165.64 | 2.6 | 0.13 | 0.29 |  | 14.6vs2.3 | 15.8% | 3.5
[16 empty] | 2000vs340 | 4.0 vs. 0.68 | 31.5% | 1165.64 | 4.9 | 0.07 | 0.29 |  | 14.6vs2.3 | 25.6% | 2.5
[16 empty] | 7300vs1150 | 14.6 vs. 2.3 | 31.5% | 1165.64 | 1.9 | 0.19 | 0.29 |  | 14.6vs2.3 | 31.5% | 1.9
[15 empty] | Modern | 4000vs300 | 9.0 vs. 0.68 | 15.8% | 2653.8 | 5.7 | 0.2 | 0.93 | Modern | 9vs0.68 | 15.8% | 5.7
[15 empty] | H shaped flat roof | 1800vs300 | 4.0 vs. 0.68 | 15.8% | 2653.8 | 9.9 | 0.12 | 0.93 | H shaped flat roof | 9vs0.68 | 25.6% | 4.2
[16 empty] | 6500vs1000 | 14.6 vs. 2.3 | 15.8% | 2653.8 | 4.1 | 0.27 | 0.93 |  | 9vs0.68 | 31.5% | 3.3
[16 empty] | 4000vs300 | 9.0 vs. 0.68 | 25.6% | 1936.44 | 4.2 | 0.2 | 0.68 |  | 4vs0.68 | 15.8% | 9.9
[16 empty] | 1800vs300 | 4.0 vs. 0.68 | 25.6% | 1936.44 | 7.6 | 0.2 | 0.68 |  | 4vs0.68 | 25.6% | 7.6
[16 empty] | 6500vs1000 | 14.6 vs. 2.3 | 25.6% | 1936.44 | 3.1 | 0.27 | 0.68 |  | 4vs0.68 | 31.5% | 6
[16 empty] | 4000vs300 | 9.0 vs. 0.68 | 31.5% | 1481.16 | 3.3 | 0.19 | 0.52 |  | 14.6vs2.3 | 15.8% | 4.1
[16 empty] | 1800vs300 | 4.0 vs. 0.68 | 31.5% | 1481.16 | 6 | 0.11 | 0.52 |  | 14.6vs2.3 | 25.6% | 3.1
[16 empty] | 6500vs1000 | 14.6 vs. 2.3 | 31.5% | 1481.16 | 2.4 | 0.26 | 0.52 |  | 14.6vs2.3 | 31.5% | 2.4

## Framing factors
|  | Total Wall Area Sqft | % of Window | sqft | SIP % Framing | sqft | LFC %Framing | sqft
Cape | H1W1 | 285 | 0.27 | 76.95 | 0.13 | 27.0465 | 0.21 | 43.6905
| H1W2 | 285 | 0.16 | 45.6 | 0.1 | 23.94 | 0.33 | 79.002
| H1W3 | 348 | 0.17 | 59.16 | 0.1 | 28.884 | 0.28 | 80.8752
| H1W4 | 348 | 0.13 | 45.24 | 0.08 | 24.2208 | 0.32 | 96.8832
Modern | H2W1 | 580 | 0.07 | 40.6 | 0.05 | 26.97 | 0.22 | 118.668
| H2W2 | 770 | 0.25 | 192.5 | 0.07 | 40.425 | 0.21 | 121.275
Big House | H3W1 | 116 | 0.12 | 13.92 | 0.08 | 8.1664 | 0.37 | 37.7696
| H3W2 | 253 | 0.46 | 116.38 | 0.15 | 20.493 | 0.41 | 56.0142
| H3W3 | 480 | 0.37 | 177.6 | 0.13 | 39.312 | 0.32 | 96.768
| H3W4 | 240 | 0.26 | 62.4 | 0.12 | 21.312 | 0.45 | 79.92
| H3W5 | 418 | 0.08 | 33.44 | 0.05 | 19.228 | 0.32 | 123.0592
| H3W6 | 357 | 0.39 | 139.23 | 0.14 | 30.4878 | 0.29 | 63.1533
| H3W7 | 494 | 0.12 | 59.28 | 0.09 | 39.1248 | 0.31 | 134.7632
Hobart | H4W1 | 272 | 0.29 | 78.88 | 0.15 | 28.968 | 0.3 | 57.936
| H4W2 | 517 | 0.41 | 211.97 | 0.24 | 73.2072 | 0.39 | 118.9617
| H4W3 | 488 | 0.21 | 102.48 | 0.21 | 80.9592 | 0.43 | 165.7736
| H4W4 | 488 | 0.23 | 112.24 | 0.22 | 82.6672 | 0.44 | 165.3344
| H4W5 | 354 | 0.56 | 198.24 | 0.48 | 74.7648 | 0.6 | 93.456
| H4W6 | 296 | 0.13 | 38.48 | 0.09 | 23.1768 | 0.24 | 61.8048
Roof | R1 | 960 | 0 | 0 | 0.01 | 9.6 | 0.13 | 124.8
Roof w/skylights | R2 | 570 | 0.05 | 28.5 | 0.05 | 27.075 | 0.2 | 108.3
8919
area weighted averages |  |  | 0.20553 |  | 0.084093 |  | 0.2274
|  |  | % of Window | sqft | SIP % Framing | sqft | LFC %Framing |  | Differnce Between LFC and SIP Framing Factors
|  |  | 0 | 0 | 0.01 | 0 | 0.13 |  | 0.12
|  |  | 0.05 | 0 | 0.05 | 0 | 0.2 |  | 0.15
|  |  | 0.07 | #REF! | 0.05 | #REF! | 0.22 |  | 0.17
|  |  | 0.08 | #REF! | 0.05 | #REF! | 0.32 |  | 0.27
|  |  | 0.12 | #REF! | 0.08 | #REF! | 0.37 |  | 0.29
|  |  | 0.12 | #REF! | 0.09 | #REF! | 0.31 |  | 0.22
|  |  | 0.13 | #REF! | 0.09 | #REF! | 0.24 |  | 0.15
|  |  | 0.13 | #REF! | 0.08 | #REF! | 0.32 |  | 0.24
|  |  | 0.16 | #REF! | 0.1 | #REF! | 0.33 |  | 0.23
|  |  | 0.17 | #REF! | 0.1 | #REF! | 0.28 |  | 0.18
|  |  | 0.21 | #REF! | 0.21 | #REF! | 0.43 |  | 0.22
|  |  | 0.23 | #REF! | 0.22 | #REF! | 0.44 |  | 0.22
|  |  | 0.25 | #REF! | 0.07 | #REF! | 0.21 |  | 0.14
|  |  | 0.26 | #REF! | 0.12 | #REF! | 0.45 |  | 0.33
|  |  | 0.27 | #REF! | 0.13 | #REF! | 0.21 |  | 0.08
|  |  | 0.29 | #REF! | 0.15 | #REF! | 0.3 |  | 0.15
|  |  | 0.37 | #REF! | 0.13 | #REF! | 0.32 |  | 0.19
|  |  | 0.39 | #REF! | 0.14 | #REF! | 0.29 |  | 0.15
|  |  | 0.41 | #REF! | 0.24 | #REF! | 0.39 |  | 0.15
|  |  | 0.46 | #REF! | 0.15 | #REF! | 0.41 |  | 0.26
|  |  | 0.56 | #REF! | 0.48 | #REF! | 0.6 |  | 0.12

## House Details (2)
Step 1: | Find Your Local Climate Conditions
| Heating Degree Days: |  | Choose the city closest to you from the list on the right and enter the HDD (65) number into the box below | [8 empty] | Excerpt of ASHRAE 90.1 2010 Table D-1
| HDD (65) | 6948 | [9 empty] | City | State | HDD (65) | CDD (50)
| Interior Temp. | 65 | (don't change this unless you are also changing the base temperature of your HDD) | [8 empty] | Anchorage | AK | 10570 | 688
| Design Temperture: |  | Find your area on the map below and choose the appropriate design temperature in the box below | [8 empty] | Fairbanks | AK | 13940 | 1040
| Design Temp. | 0 | [9 empty] | San Francisco | CA | 3016 | 2883
[12 empty] | Boulder | CO | 5554 | 2820
[12 empty] | Hartford | CT | 6155 | 2768
[12 empty] | Dover | DE | 4337 | 3894
[12 empty] | Honolulu | HI | 0 | 9949
[12 empty] | Boise | ID | 5861 | 2807
[12 empty] | Chicago | IL | 6536 | 2941
[12 empty] | Columbus | IN | 5536 | 3353
[12 empty] | Bangor | ME | 7930 | 1916
[12 empty] | Portland | ME | 7378 | 1943
[12 empty] | Baltimore | MD | 4707 | 3709
[12 empty] | Boston | MA | 5641 | 2897
[12 empty] | Springfield | MA | 5754 | 3037
[12 empty] | Detroit | MI | 6167 | 3046
[12 empty] | Minneapolis-St Paul | MN | 7981 | 2680
[12 empty] | Berlin | NH | 8645 | 1718
[12 empty] | Concord | NH | 7554 | 2087
[12 empty] | Keene | NH | 6948 | 2398
| Ground Temperature: |  | Use map below to find the mean water temperature for your area, enter the number below | [8 empty] | Portsmouth | NH | 6572 | 2418
| Ave. Winter Temp. | 47 | (this is a proxy for the ground temperature) | [8 empty] | Atlantic City | NJ | 5169 | 3198
| Hours/year | 4320 | [9 empty] | Albany | NY | 6894 | 2525
[12 empty] | Buffalo | NY | 6747 | 2468
[12 empty] | NY City (central park) | NY | 4805 | 3634
[12 empty] | Rochester | NY | 6734 | 2406
[12 empty] | Schenectady | NY | 6881 | 2500
[12 empty] | Cleveland | OH | 6201 | 2755
[12 empty] | Philidelphia | PA | 4954 | 3623
[12 empty] | Pittsburg | PA | 5968 | 2836
[12 empty] | Lancaster | PA | 5584 | 3079
[12 empty] | Providence | RI | 5884 | 2743
[12 empty] | Burlington | VT | 7771 | 2228
[12 empty] | Rutland | VT | 7066 | 2345
Step 2: | Define the shape of your house
| Floor Area: | Note: this includes all floor area within the thermal barrier or all the Heated/Cooled space
Include basement only if there is no insulation in the floor between the basement and first floor
Include attic only if there is no insulation in or on top of the ceiling between the top floor and attic
If including Attic then ceiling height is average height of room
[5 empty] | Area |  | Ceiling Height |  | Above Grade stories
|  |  | Basement | Bfla | 0 | sqft | 0 | ft | 0
|  |  | 1st Floor | 1fla | 1888 | sqft | 10 | ft | 1
|  |  | 2nd Floor | 2fla | 968 | sqft | 8 | ft | 1
|  |  | 3rd Floor | 3fla | 0 | sqft | 0 | ft | 0
|  |  | Attic | Afla | 0 | sqft | 0 | ft | 0
|  |  | Total Floor Area | FLa | 2856 | sqft |  |  | 2 | stories
|  |  | Interior Living Space |  | 2856 | sqft
|  |  | # of Occupants or # of Bedrooms +1 | 4 | people
| Surface Area: | Note: this is includes all insulated exterior surfaces or surfaces connected to Heated and Cooled areas.
Include basement walls only if there is no insulation in the floor between the basement and first floor
Include roof surfaces only if there is no insulation in or on top of the ceiling between the top floor and attic, if the ceiling is insulated then roof surface is the ceiling area
Use either option 1) or 2) not both for Basement
|  |  | Basement: |  |  |  | Surface Area
|  | 1) | Insulated 1st floor |  | 0 | sqft
|  | 2) | slab |  | 1888 | sqft | 1888 | sqft
|  | 2) | Perimeter of basement |  | 240 | ft
|  |  | Average height of Above grade wall |  | 1 | ft | 240 | sqft
|  |  | Average depth of Basement from grade |  | 4 | ft | 960 | sqft
|  |  | Shortest width of slab |  | 16 | ft | Wb
Walls:
|  |  | elevation 1 |  | 800 | sqft
|  |  | elevation 2 |  | 800 | sqft
|  |  | elevation 3 |  | 800 | sqft
|  |  | elevation 4 |  | 800 | sqft
|  |  | Total wall surface area | Wsa | 3200 | sqft
|  |  | Windows: | Qty | Window Area | Total Area |  | Window R-value | Window U-Value | Window UA | Window R-values from Marvin's best option
|  |  | Type A | 18 | 30 | 540 |  | 3 | 0.33333 | 180 | http://www.integritywindows.com/Spec-Finder-Pro-Double-Hung-Wood-Ultrex/
|  |  | Type B | 8 | 16 | 128 |  | 3 | 0.33333 | 42.6667
|  |  | Type C | 0 | 0 | 0 |  | 3 | 0.33333 | 0
|  |  | Type D | 0 | 0 | 0 |  | 3 | 0.33333 | 0
Type E
Type F
Type G
Type H
Type I
|  |  | Total Window Area | 26 |  | 668 |  | Total UA | WIua | 222.6667
|  |  | RO as % of wall | 25.56%
|  |  | SIP Framing Factor | 14.66%
|  |  | LCF Framing Factor | 33.65%
|  |  | Doors | Qty | Area | Total Area |  | Door R-value | Door U-value | Door UA
|  |  | Type 1 | 3 | 22 | 66 |  | 2 | 0.5 | 33
|  |  | Type 2 | 2 | 42 | 84 |  | 3 | 0.33333 | 28
|  |  | Type 3 |  |  | 0
|  |  | Total Door Area | 5 |  | 150 |  | Total UA | Dua | 61
Clear Wall
|  |  | wall area - window and doors |  | 2382 | sqft
Roof Surface Area
Note: find vertical Area from elevations
|  |  | Pitch x/12 | 1 |  | Adjusted Area
|  |  | Area Side 1 | 1888 | sqft | 22734.5306
|  |  | Area Side 2 | 0 | sqft | 0
|  |  | Area Side 3 | 0 | sqft | 0
|  |  | Area Side 4 | 0 | sqft | 0
|  |  | Total Roof Surface Area |  |  | 1888 | sqft

## House Details (3)
Step 1: | Find Your Local Climate Conditions
| Heating Degree Days: |  | Choose the city closest to you from the list on the right and enter the HDD (65) number into the box below | [8 empty] | Excerpt of ASHRAE 90.1 2010 Table D-1
| HDD (65) | 6948 | [9 empty] | City | State | HDD (65) | CDD (50)
| Interior Temp. | 65 | (don't change this unless you are also changing the base temperature of your HDD) | [8 empty] | Anchorage | AK | 10570 | 688
| Design Temperture: |  | Find your area on the map below and choose the appropriate design temperature in the box below | [8 empty] | Fairbanks | AK | 13940 | 1040
| Design Temp. | 0 | [9 empty] | San Francisco | CA | 3016 | 2883
[12 empty] | Boulder | CO | 5554 | 2820
[12 empty] | Hartford | CT | 6155 | 2768
[12 empty] | Dover | DE | 4337 | 3894
[12 empty] | Honolulu | HI | 0 | 9949
[12 empty] | Boise | ID | 5861 | 2807
[12 empty] | Chicago | IL | 6536 | 2941
[12 empty] | Columbus | IN | 5536 | 3353
[12 empty] | Bangor | ME | 7930 | 1916
[12 empty] | Portland | ME | 7378 | 1943
[12 empty] | Baltimore | MD | 4707 | 3709
[12 empty] | Boston | MA | 5641 | 2897
[12 empty] | Springfield | MA | 5754 | 3037
[12 empty] | Detroit | MI | 6167 | 3046
[12 empty] | Minneapolis-St Paul | MN | 7981 | 2680
[12 empty] | Berlin | NH | 8645 | 1718
[12 empty] | Concord | NH | 7554 | 2087
[12 empty] | Keene | NH | 6948 | 2398
| Ground Temperature: |  | Use map below to find the mean water temperature for your area, enter the number below | [8 empty] | Portsmouth | NH | 6572 | 2418
| Ave. Winter Temp. | 47 | (this is a proxy for the ground temperature) | [8 empty] | Atlantic City | NJ | 5169 | 3198
| Hours/year | 4320 | [9 empty] | Albany | NY | 6894 | 2525
[12 empty] | Buffalo | NY | 6747 | 2468
[12 empty] | NY City (central park) | NY | 4805 | 3634
[12 empty] | Rochester | NY | 6734 | 2406
[12 empty] | Schenectady | NY | 6881 | 2500
[12 empty] | Cleveland | OH | 6201 | 2755
[12 empty] | Philidelphia | PA | 4954 | 3623
[12 empty] | Pittsburg | PA | 5968 | 2836
[12 empty] | Lancaster | PA | 5584 | 3079
[12 empty] | Providence | RI | 5884 | 2743
[12 empty] | Burlington | VT | 7771 | 2228
[12 empty] | Rutland | VT | 7066 | 2345
Step 2: | Define the shape of your house
| Floor Area: | Note: this includes all floor area within the thermal barrier or all the Heated/Cooled space
Include basement only if there is no insulation in the floor between the basement and first floor
Include attic only if there is no insulation in or on top of the ceiling between the top floor and attic
If including Attic then ceiling height is average height of room
[5 empty] | Area |  | Ceiling Height |  | Above Grade stories
|  |  | Basement | Bfla | 0 | sqft | 0 | ft | 0
|  |  | 1st Floor | 1fla | 720 | sqft | 9 | ft | 1
|  |  | 2nd Floor | 2fla | 0 | sqft | 0 | ft | 0
|  |  | 3rd Floor | 3fla | 0 | sqft | 0 | ft | 0
|  |  | Attic | Afla | 720 | sqft | 8 | ft | 1
|  |  | Total Floor Area | FLa | 1440 | sqft |  |  | 2 | stories
|  |  | Interior Living Space |  | 1440 | sqft
|  |  | # of Occupants or # of Bedrooms +1 | 4 | people
| Surface Area: | Note: this is includes all insulated exterior surfaces or surfaces connected to Heated and Cooled areas.
Include basement walls only if there is no insulation in the floor between the basement and first floor
Include roof surfaces only if there is no insulation in or on top of the ceiling between the top floor and attic, if the ceiling is insulated then roof surface is the ceiling area
Use either option 1) or 2) not both for Basement
|  |  | Basement: |  |  |  | Surface Area
|  | 1) | Insulated 1st floor |  | 0 | sqft
|  | 2) | slab |  | 720 | sqft | 720 | sqft
|  | 2) | Perimeter of basement |  | 108 | ft
|  |  | Average height of Above grade wall |  | 1 | ft | 108 | sqft
|  |  | Average depth of Basement from grade |  | 4 | ft | 432 | sqft
|  |  | Shortest width of slab |  | 16 | ft | Wb
Walls:
|  |  | elevation 1 |  | 360 | sqft
|  |  | elevation 2 |  | 360 | sqft
|  |  | elevation 3 |  | 336 | sqft
|  |  | elevation 4 |  | 336 | sqft
|  |  | Total wall surface area | Wsa | 1392 | sqft
|  |  | Windows: | Qty | Window Area | Total Area |  | Window R-value | Window U-Value | Window UA | Window R-values from Marvin's best option
|  |  | Type A | 6 | 15 | 90 |  | 3 | 0.33333 | 30 | http://www.integritywindows.com/Spec-Finder-Pro-Double-Hung-Wood-Ultrex/
|  |  | Type B | 7 | 9 | 63 |  | 3 | 0.33333 | 21
|  |  | Type C | 0 | 0 | 0 |  | 3 | 0.33333 | 0
|  |  | Type D | 0 | 0 | 0 |  | 3 | 0.33333 | 0
Type E
Type F
Type G
Type H
Type I
|  |  | Total Window Area | 13 |  | 153 |  | Total UA | WIua | 51
|  |  | RO as % of wall | 15.8%
|  |  | SIP Framing Factor | 9.479%
|  |  | LCF Framing Factor | 29.1%
|  |  | Doors | Qty | Area | Total Area |  | Door R-value | Door U-value | Door UA
|  |  | Type 1 | 1 | 22 | 22 |  | 2 | 0.5 | 11
|  |  | Type 2 | 1 | 45 | 45 |  | 3 | 0.33333 | 15
|  |  | Type 3 |  |  | 0
|  |  | Total Door Area | 2 |  | 67 |  | Total UA | Dua | 26
Clear Wall
|  |  | wall area - window and doors |  | 1172 | sqft
Roof Surface Area
Note: find vertical Area from elevations
|  |  | Pitch x/12 | 8 |  | Adjusted Area
|  |  | Area Side 1 | 240 | sqft | 432.6662
|  |  | Area Side 2 | 240 | sqft | 432.6662
|  |  | Area Side 3 | 0 | sqft | 0
|  |  | Area Side 4 | 0 | sqft | 0
|  |  | Total Roof Surface Area |  |  | 1888 | sqft